## Slide 1: EEE 2015 ELECTRICS
L03 AC Circuit Analysis&Power Calculations

## Slide 2
L02 Alternating Voltage and Current
Behaviors of Basic Circuit Components under AC
Resistor (R)
Coil (L)
(Inductor)
Capacitor(C)
(Condenser)
Dr. Levent ÇETİN

## Slide 3
L02 Alternating Voltage and Current
AC circuit –RL in series
Dr. Levent ÇETİN
Inductive reactance of the coil
The total effect is called as impedance.

## Slide 4
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RL in series

## Slide 5
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RL in parallel

## Slide 6
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RL in parallel

## Slide 7
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RL in parallel

## Slide 8
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RL in parallel

## Slide 9
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in series

## Slide 10
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in series

## Slide 11
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in series
As it can be considered easily, the phase shift is 79.325 degrees in this circuit whereas in the circuit that has only one capacitor it was 90 degrees.
The current and the voltage on the resistor is on the same phase as it is mentioned. However, the current on a capacitor leads voltage by 90 degrees.

## Slide 12
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in parallel

## Slide 13
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in parallel

## Slide 14
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RC in parallel

## Slide 15
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RLC in series

## Slide 16
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RLC in series

## Slide 17
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RLC in series
It should be considered that the amplitude of the voltage on the capacitor is greater than the voltage supplied to the circuit. The influence of the impedance in the whole circuit is smaller than the influence of impedance of any single component. This case causes higher voltages on single components.

## Slide 18
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RLC in paralel

## Slide 19
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –RLC in paralel

## Slide 20
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –Complex Circuit

## Slide 21
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –Complex Circuit
The calculation of impedance in this circuit should be completed step by step.
First, serial connection branch of C2 and L,
afterwards the parallel branch of resistor and last the serial capacitor effects should be calculated.

## Slide 22
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –Complex Circuit
Calculate current drawn from source and passing through C1
Same current is passing through L-C2 branch

## Slide 23
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –Complex Circuit
Voltage drop on L-C2 branch
Same Voltage drops on parallel R branch

## Slide 24
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
AC circuit –Complex Circuit

## Slide 25
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Power in AC circuit
Since it was mentioned, there is a phase shift between current and voltage in AC circuits. The reason is the complex number impedance as it was stated.
So there are three definitions in AC circuits which are related with power.
These are:
True power (active power),
Reactive power,
Apparent power.
Impedance Calculations:
Inductive Circuit
Capacitive Circuit

## Slide 26
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Power in AC circuit

## Slide 27
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Power in AC circuit
The power quantities are scalar quantities.
if we consider the 90 degrees of direction angle between the resistor and the reactance and phase shift in the circuit.
This perpendicular triangle is called as ‘Power Triangle
A part of the power cannot be converted to electrical work in an AC circuit.
The generated effective power is just as the true power.
Power factor is the cosine of the angle between the true and apparent powers (cos).
This value is equal to 1 in only circuits those have just resistors. But if there is a reactance, then the value is between 0 and 1.

## Slide 28
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Power in AC circuit
The power factor value shows that the 70.5 % of the power used from the grid is served for the purpose.

## Slide 29
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit
The power factor value shows that the 70.5 % of the power used from the grid is served for the purpose.
This situation is not wanted.
So, in circuit design stage, it must be noted that the power factor is approximately equal to 1.
For this reason, the capacitive and inductive reactance values should be approximately equal to each other.
If this is not possible, a capacitor or an inductor should be externally added to the circuit. This improvement is called as compensation.

## Slide 30
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit
The circuit is inductive so a parallel capacitor should be added so that the total reactance of the circuit becomes approximately zero
In parallel branches voltage is constant so the necessary reactance value can be calculated using voltage based power formula

## Slide 31
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit
The calculated reactance value is used to find capacitor value

## Slide 32
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit
The capacitor value found is not a standart value for capacitors, so the closest standart value shold be chosen (22 µF) and connected in parallel with the circuit.

## Slide 33
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit
this improvement made the power factor closer to 1. Besides, the current is decreased.

## Slide 34
Dr. Levent ÇETİN
L02 Alternating Voltage and Current
Compensation in AC circuit